## Slide 1: Design of Biomedical Measurement Systems

## Slide 2
https://github.com/jeffliu123/Biomedical_assignment

## Slide 3
Run the project on ubuntu system

## Slide 4
Install anaconda

## Slide 5
Text editor we choose vscode

## Slide 6
STM32CubeIDE is the official IDE released by STMicroelectronics for STM32 development.

## Slide 7
First step create a virtual environment
$ conda create --name DL python=3.9
Type above instruction in your terminal (python version 3.9 virtual environment name DL)

## Slide 8
Second step Install the required packages
$ pip install -r requirements.txt
Type above instruction in your terminal
pySerial == 3.5,keyboard == 0.13.5,tensorflow==2.13.0,numpy==1.24.3,
pandas==2.0.3,wfdb==4.1.2,seaborn==0.12.2,matplotlib==3.7.3,
keras==2.13.1,scikit-learn==1.3.1

## Slide 9
Usage
$ python3 assignment1.py
$ python3 assignment2.py
$ python3 cnn_predict.py
$ python3 assignment4.py

## Slide 10
Assignment 1:
1.Plot ecg signal
2.Plot ppg signal
3.Calculate Pulse Rate

## Slide 12
PPG

## Slide 13
Demo time

## Slide 14
Assignment 2:
1.Fill some layers of the model on your own
2.Draw the training and validation loss
3.Save testx.npy and testy.npy(prepare for Lab4)

## Slide 20
Demo time

## Slide 21
Assignment 3:
1.Transfer MIT_BIH.h5 to MIT_BIH.tflite write the code
2.Write function to load tflite model

## Slide 24
Demo time

## Slide 25
Assignment 4:
1.Shrink tflite model to smaller size
2.Compare two model size MIT_BIH.tflite and MIT_BIH_quant.tflite
3.Try the model on the embedded system and run the code

## Slide 27
Download representative dataset
$ sh download.sh

## Slide 30: Create STM32 Project

## Slide 31
Create STM32 Project

## Slide 32
Create STM32 Project
Notes: 左邊是IDE編譯器，自動產生的底板程式碼，
右邊是CUBEMX軟體介面，可對開發板硬體資源進行設定。

## Slide 33
Install X-CUBE-AI
Notes: 下載AI開發所需的software packs

## Slide 34
Install X-CUBE-AI

## Slide 35
Select X-CUBE-AI

## Slide 36
Select X-CUBE-AI

## Slide 37: Reset and clock control (RCC)
Notes: RCC 的完整英文描述是 ，Reset and clock control，重置(system, power, and backup reset)與時脈控制。
高速外部時脈訊號 (HSE)
低速外部時脈訊號 (LSE)
Crystal/Ceramic Resonator（石英/陶瓷 晶振）

## Slide 38: UART

## Slide 39: UART

## Slide 40: Add Model and Analyze

## Slide 41: Analyze Output
The tool will infer the model's resource occupancy (ROM, RAM) based on the model and model parameters, allowing an assessment of whether the model can be deployed to a development board.

## Slide 42: Validation on desktop
The verification data is the testx.npy and testy.npy files we just specified.

## Slide 43: Validation on desktop
To verify the training model, we mainly verify the differences in computing resources, model accuracy, etc. before and after the verification between the original model and the model converted to C language support.
Notes: 沒有Accuracy 是因為我們範例使用的模型不是分類模型是回歸模型

## Slide 44: Generate Code

## Slide 45: Build Project

## Slide 46: Build Project

## Slide 47: Build Project

## Slide 48: Validation on target
The verification data is the testx.npy and testy.npy files we just specified.

## Slide 49: Validation on target
The model is successfully verified on the target board.

## Slide 50
Demo time